# ECG xAI-AMI Benchmark Proposal

# Research Proposal

## Do ECG Deep-Learning Explanations Point Where Cardiologists Look? A Faithfulness-, Sanity-, and Concordance-Benchmarked Evaluation of Attribution Methods for Acute Myocardial Infarction Detection

Principal investigator: Tam Tran Draft version: 1.0 · Working proposal Study type: Retrospective, secondary analysis of public de-identified data + lightweight structured expert rating Data: Fully public / credentialed public ECG repositories (no new patient recruitment)

## 1. Summary

Deep neural networks now match or exceed cardiologist-level performance in interpreting the 12-lead electrocardiogram (ECG), particularly for myocardial infarction (MI). Because these models are opaque, the field routinely bolts on a post-hoc “explanation” — most often Grad-CAM or a saliency map — to justify the prediction. The unexamined assumption is that these heatmaps show where the model actually looked and, ideally, that this coincides with where a cardiologist would look (the ST segment, pathological Q waves, the relevant anatomical leads).

That assumption is shaky, and the ECG literature is openly contradictory about it: at least one rigorous study found that Grad-CAM — the single most-used attribution method in ECG analysis — fails basic sanity checks, collapsing onto the high-amplitude QRS complex regardless of the diagnosis, while another benchmark reported Grad-CAM as the clear best performer. When two careful studies reach opposite conclusions, the field needs a standardized, disease-specific, externally validated adjudication rather than another one-off application.

This project trains a standard deep-learning MI detector on the gold-standard public PTB-XL dataset and then, holding the model fixed, benchmarks a panel of attribution methods along three axes that the current literature almost never combines: (i) faithfulness (does the highlighted evidence actually drive the prediction), (ii) sanity (does the explanation degrade appropriately when the model or data is randomized), and (iii) clinical concordance (does the explanation localize to the ECG segments and leads that define MI for a cardiologist). We add a lightweight expert-rating layer (2–3 cardiologists blindly scoring a sample of maps) and test whether the resulting method rankings transfer to a second, independent hospital cohort (MIMIC-IV-ECG). The deliverable is an evidence-based, reproducible, open-source answer to a practical question: which explanation method should ECG-AI actually use for MI, and does it hold up across sites?

## 2. Background and significance

### 2.1 Where deep learning genuinely wins — and where the black box is real

On structured/tabular clinical data, gradient-boosted decision trees remain the state of the art and typically outperform deep neural networks; deep learning’s advantage does not reliably materialize there. The picture is different for unstructured cardiac signals. On raw 12-lead ECG waveforms, convolutional and convolutional-recurrent networks reach cardiologist-comparable accuracy — recent multi-centre AMI models report AUROC ≈ 0.85 under cross-hospital external validation. Critically, a CNN operating on a raw waveform is a true black box (unlike a tree ensemble, whose splits are at least inspectable), so the interpretability problem here is genuine rather than rhetorical. This is the correct setting in which to motivate explainable AI (xAI).

### 2.2 The state of xAI for ECG

Across ECG deep-learning studies, explainability is dominated by a small set of attribution methods — SHAP, saliency maps, Grad-CAM, and LIME — applied post hoc to check whether the model’s attention aligns with clinically plausible morphology. Two problems recur throughout this literature:

- Explanation quality is rarely measured. Papers report classifier metrics (AUROC, sensitivity, specificity) but seldom report quantitative faithfulness or stability of the explanations themselves. There is no accepted benchmark, and reviews explicitly call for standardized faithfulness/stability metrics, cardiologist validation of explanation maps, and public code release.

- The methods disagree, and some fail outright. Saliency maps are visually immediate but unstable; Grad-CAM is intuitive but has been shown to attribute relevance to the QRS complex (the highest-amplitude region) rather than the diagnostically relevant segment. The ECG is unusually well-suited to exposing this because its periodic structure and well-defined features (P wave, QRS complex, ST segment) allow precise temporal and spatial sanity checks — an advantage this proposal exploits directly.

### 2.3 Why MI, and why now

MI is the highest-yield target for a concordance-based evaluation because, unlike diffuse or rhythm diagnoses, its ECG evidence is spatially and temporally localizable by rule: ST-segment deviation, pathological Q waves, and T-wave changes, appearing in the specific leads that map to a coronary territory. That gives us a defensible, physiology-grounded “where should the model look” reference against which any attribution map can be scored — something generic localization benchmarks lack. MI is also of direct translational importance: timely detection changes management, and a trustworthy explanation is a precondition for bedside and wearable-triage deployment.

## 3. Gap statement

The unfilled gap is not “nobody explains ECG models.” It is that the field has not standardized how to tell a trustworthy ECG explanation from a misleading one, has not tied that judgment to disease-specific clinical evidence, and has not shown that explanation quality (not just accuracy) generalizes across hospitals. The published contradiction over Grad-CAM’s reliability is a symptom of this gap. This proposal targets it directly.

## 4. Objectives and hypotheses

Aim 1 — Build a credible, standard MI detector (not the contribution). Train and validate a deep-learning classifier for MI on PTB-XL, reporting standard discrimination metrics, so that all downstream explanation analysis rests on a competent model.

Aim 2 — Benchmark attribution methods on three axes (the core contribution). For a fixed set of correctly classified MI cases, quantify each attribution method’s faithfulness, sanity, and clinical concordance, and quantify cross-method agreement. - H2a: Attribution methods will diverge substantially in faithfulness and concordance despite similar visual plausibility. - H2b: At least one widely used method (Grad-CAM anticipated) will fail one or more sanity checks, replicating and extending prior findings in a disease-specific setting.

Aim 3 — Anchor the benchmark to cardiologist judgment (lightweight). Have 2–3 cardiologists/electrophysiologists blindly rate a stratified sample of attribution maps for clinical plausibility and localization quality; correlate expert ratings with the automated concordance and faithfulness metrics. - H3: Automated concordance will correlate positively with expert-rated plausibility, supporting concordance as a scalable proxy.

Aim 4 — Test cross-site generalization of the explanations. Re-run the full benchmark on an independent hospital cohort (MIMIC-IV-ECG) and test whether the method rankings — not merely classifier accuracy — are preserved. - H4: Faithful, high-concordance methods will retain their ranking across cohorts; unstable methods will not.

## 5. Methods

### 5.1 Data sources

- Primary (training + internal test): PTB-XL v1.0.3. 21,837 clinical 12-lead ECGs (10 s) from 18,885 patients, cardiologist-annotated with hierarchical SCP-ECG labels including a Myocardial Infarction (MI) superclass, provided at 100 Hz and 500 Hz with recommended patient-stratified 10-fold splits.

- External validation: MIMIC-IV-ECG v1.0. ~800,000 diagnostic 12-lead ECGs (10 s, 500 Hz) from ~160,000 patients at BIDMC, linkable to the MIMIC-IV clinical database and to cardiologist report text, enabling an independent MI-labeled test set from a different country, era, and acquisition system.

- Optional secondary check: Chapman–Shaoxing–Ningbo (PhysioNet “ecg-arrhythmia” v1.0.0). ~10,000+ patients, 12-lead, 500 Hz. Note: this cohort is rhythm/arrhythmia-focused rather than MI-labeled, so it is suitable only for robustness spot-checks of attribution behavior, not as a primary MI external set. (The PhysioNet/CinC Challenge 2020–2021 aggregated databases are an alternative source of additional MI-labeled ECGs if a second external cohort is desired.)

Links and access notes are in Section 11.

### 5.2 Task definition and labeling

Binary MI vs. normal, following the common high-label-quality convention: positive = records carrying MI (optionally MI + ST/T-change) superclass labels; negative = clearly normal (NORM) records; exclude ambiguous or co-morbid overlaps (e.g., MI with hypertrophy) and retain only cardiologist-validated, high-confidence labels. A secondary analysis may narrow to acute MI where subtype/timing metadata permit, to sharpen the concordance reference. Use the dataset’s recommended patient-stratified splits (folds 1–8 train, 9 validation, 10 test) to prevent patient leakage.

### 5.3 Model (Aim 1)

Primary model: a 1D residual CNN (ResNet-style) on 100 Hz raw 12-lead input, a standard and reproducible baseline for PTB-XL MI detection. Secondary/optional: a convolutional-recurrent-attention model (e.g., Conv-BiLSTM-Attention) to permit an attention-based attribution comparison. Handle class imbalance with class weighting or focal loss. Report AUROC, AUPRC, sensitivity, specificity, and F1 at a Youden-optimized threshold with 95% CIs (bootstrap). The model is deliberately conventional; the novelty is downstream.

### 5.4 Attribution panel (Aim 2)

Applied to the same fixed model and the same set of correctly classified MI cases, implemented through a single open-source library (Captum) for reproducibility: - Grad-CAM and Grad-CAM++ - Vanilla saliency (input gradients) - Integrated Gradients - DeepLIFT - (If an attention model is used) attention weights, treated as a candidate explanation rather than assumed valid - Optional model-agnostic references: KernelSHAP and/or LIME on a windowed representation, for cross-family comparison

### 5.5 Evaluation axes (Aim 2 core)

(a) Faithfulness — does the highlighted evidence drive the prediction? Deletion/insertion (perturbation) curves: rank signal segments by attribution, progressively mask (deletion) or reveal (insertion) the top-ranked segments, and track the change in predicted MI probability. Summarize as area under the deletion/insertion curve. A faithful method causes a steep confidence drop when its top-ranked segments are removed.

(b) Sanity — does the explanation know when it should break? Adebayo-style sanity checks adapted to ECG: (i) model-parameter randomization (cascading randomization of network weights) and (ii) label/data randomization. A trustworthy attribution should degrade toward noise as the model is randomized. Quantify degradation with rank correlation between original and randomized attributions. This is where prior work caught Grad-CAM’s QRS-amplitude bias; we test it explicitly for MI.

(c) Clinical concordance — does it look where MI lives? Define a physiology-grounded reference mask per case: the ST segment / J-point region and, where derivable, the anatomically relevant leads for the labeled MI territory. Delineate cardiac intervals using an open QRS/wave delineator (e.g., NeuroKit2) to locate P/QRS/ST windows. Score each attribution map by the fraction of its mass falling within the diagnostic window/leads versus elsewhere (a localization/concordance ratio), plus a beat-aggregated (“glocal”) version to reduce single-beat gradient noise.

(d) Cross-method agreement. Rank-correlation and top-k overlap between methods on the same cases, to quantify how much the “explanation” depends on the arbitrary choice of tool.

### 5.6 Expert rating (Aim 3, lightweight)

Draw a stratified random sample (~40–60 cases × selected methods, blinded and shuffled). Two to three cardiologists/EPs independently rate each map on short Likert items (e.g., clinical plausibility; localization quality; would-this-increase-my-trust). Report inter-rater agreement (Krippendorff’s α / weighted κ) and correlate mean expert scores with the automated concordance and faithfulness metrics. This satisfies the field’s stated need for cardiologist validation without the cost of a full reader/decision study.

### 5.7 External generalization (Aim 4)

Freeze the PTB-XL-trained model, apply it to the MIMIC-IV-ECG MI/normal test set, and recompute the entire attribution benchmark. The key readout is whether the ordering of methods by faithfulness/sanity/concordance is preserved across cohorts (rank-correlation of method rankings). Report the classifier’s external AUROC as context, but the headline is explanation-ranking stability.

### 5.8 Statistical analysis

Bootstrap 95% CIs for all classifier and attribution metrics; paired comparisons across methods with appropriate correction for multiplicity (e.g., Holm–Bonferroni). Pre-register the metric definitions and primary hypotheses (e.g., on OSF) before external-cohort analysis to guard against post-hoc tuning.

### 5.9 Reproducibility

Public data only; single attribution library; fixed seeds; released code, trained weights, split indices, and the concordance-mask definitions. Report following TRIPOD-AI / applicable xAI reporting guidance.

## 6. Expected outcomes and contribution

- A standardized, disease-specific benchmark for ECG-MI explanations combining faithfulness + sanity + clinical concordance — currently missing from the literature.

- A clear, adjudicated answer to the Grad-CAM-vs-saliency contradiction for MI, with evidence rather than assertion.

- Evidence on whether automated concordance can proxy cardiologist judgment, enabling scalable evaluation.

- First-line evidence on whether explanation quality generalizes across hospitals, not just accuracy.

- An open, reusable toolkit (code + masks + protocol) other groups can apply to new ECG tasks.

Framing discipline (novelty guard): the honest positioning is “standardize and adjudicate explanation reliability for MI, with disease-specific concordance and cross-site transfer,” not “first to explain ECG.” Sanity-checking ECG attributions has partial prior art; the differentiating combination here is MI-specific diagnostic-region concordance + cardiologist rating + cross-dataset explanation-ranking stability, packaged as a benchmark.

## 7. Indicative timeline (part-time)

- Months 1–2: Data access/credentialing (MIMIC), pipeline, model training, internal metrics (Aim 1).

- Months 2–4: Attribution panel + faithfulness/sanity/concordance implementation (Aim 2).

- Month 4: Expert-rating design, IRB/ethics determination, cardiologist recruitment (Aim 3).

- Months 4–5: External cohort benchmark (Aim 4).

- Months 5–6: Analysis, expert rating collection, manuscript, code release.

## 8. Ethics and data governance

All datasets are de-identified and publicly released for research; no new patient contact. PTB-XL is open access; MIMIC-IV-ECG requires PhysioNet credentialing (CITI “Data or Specimens Only Research” training + a signed data use agreement). The expert-rating component uses clinicians rating de-identified model outputs and typically qualifies as non-human-subjects or exempt research, but a formal IRB determination will be obtained before that phase.

## 9. Limitations and mitigations

- Concordance reference is a simplification. The “correct” region for MI is rule-based, not ground truth about the model. Mitigation: treat concordance as one axis among three; corroborate with faithfulness and expert rating.

- Label noise / heterogeneous MI definitions across cohorts. Mitigation: high-confidence labels, explicit inclusion rules, sensitivity analyses.

- Small expert panel. Mitigation: keep expert rating as a supporting, not primary, endpoint; report agreement transparently.

- Attention ≠ explanation. Mitigation: attention treated as a candidate, evaluated by the same metrics.

## 10. Candidate venues

Methods/informatics: Computers in Biology and Medicine, Computer Methods and Programs in Biomedicine, JAMIA. Clinical-digital: European Heart Journal – Digital Health, npj Digital Medicine.

## 11. Data availability — links

Primary training / internal test - PTB-XL v1.0.3 (PhysioNet): https://physionet.org/content/ptb-xl/1.0.3/ DOI: https://doi.org/10.13026/kfzx-aw45 · Dataset paper: https://www.nature.com/articles/s41597-020-0495-6 · Open access (direct download / wget).

External validation - MIMIC-IV-ECG v1.0 (PhysioNet): https://physionet.org/content/mimic-iv-ecg/1.0/ Requires PhysioNet credentialed access + data use agreement. - MIMIC-IV-ECG Demo v0.1 (open access, for pipeline testing before credentialing): https://physionet.org/content/mimic-iv-ecg-demo/0.1/

Optional secondary / robustness check - Chapman–Shaoxing–Ningbo, “A large scale 12-lead ECG database for arrhythmia study” v1.0.0 (PhysioNet): https://physionet.org/content/ecg-arrhythmia/1.0.0/ (Rhythm-focused; not MI-labeled — use for attribution-behavior spot-checks only.) - PhysioNet/CinC Challenge 2020 (aggregated 12-lead databases, incl. MI labels): https://physionet.org/content/challenge-2020/1.0.2/

Core tooling (open source) - Captum (attribution methods): https://captum.ai/ - NeuroKit2 (ECG delineation for concordance masks): https://github.com/neuropsychology/NeuroKit

## 12. Selected references

- Wagner P, Strodthoff N, Bousseljot R-D, et al. PTB-XL, a large publicly available electrocardiography dataset. Scientific Data. 2020;7:154. doi:10.1038/s41597-020-0495-6.

- Gow B, Pollard T, Nathanson LA, et al. MIMIC-IV-ECG: Diagnostic Electrocardiogram Matched Subset (v1.0). PhysioNet. 2023.

- Zheng J, Zhang J, Danioko S, et al. A 12-lead electrocardiogram database for arrhythmia research covering more than 10,000 patients. Scientific Data / PhysioNet. 2020.

- Adebayo J, Gilmer J, Muelly M, Goodfellow I, Hardt M, Kim B. Sanity Checks for Saliency Maps. NeurIPS. 2018.

- Selvaraju RR, Cogswell M, Das A, et al. Grad-CAM: Visual Explanations from Deep Networks via Gradient-Based Localization. ICCV. 2017.

- Lundberg SM, Lee S-I. A Unified Approach to Interpreting Model Predictions (SHAP). NeurIPS. 2017.

- Ribeiro MT, Singh S, Guestrin C. “Why Should I Trust You?”: Explaining the Predictions of Any Classifier (LIME). KDD. 2016.

- Strodthoff N, et al. Explaining deep learning for ECG analysis: Building blocks for auditing and knowledge discovery. Computers in Biology and Medicine. 2024. (Sanity checks reveal Grad-CAM’s temporal-attribution failure; saliency passes.)

- Evaluating Feature Attribution Methods for Electrocardiogram. 2022. arXiv:2211.12702.

- Visual interpretation of deep learning model in ECG classification: a comprehensive evaluation of feature attribution methods. Computers in Biology and Medicine. 2024.

- Explainable deep-learning-based techniques for ECG-based heart disease classification: a systematic literature review and future directions. Computers in Biology and Medicine. 2025.

- Mothilal RK, Sharma A, Tan C. Explaining Machine Learning Classifiers through Diverse Counterfactual Explanations (DiCE). FAccT. 2020. (For optional counterfactual extension.)

Reference details should be verified and completed against the source records before submission.